**Application of a Recombinase Polymerase Amplification (RPA) assay and pilot field testing for *Giardia duodenalis* at Lake Albert, Uganda.**

**Sandra J. Molina-Gonzalez1,3†, Tapan Bhattacharyya2,3†\*, Hajri R. AlShehri4,5, Kate Poulton3,6, Stephen Allen7, Michael A. Miles2,3, Moses Arianitwe8, Edridah M. Tukahebwa8, Bonnie Webster3,6, J. Russell Stothard4, Amaya L. Bustinduy1,3†.**

1 Department of Clinical Research, London School of Hygiene & Tropical Medicine, London, UK

2 Department of Infection Biology, London School of Hygiene & Tropical Medicine, London, UK

3 London Centre for Neglected Tropical Disease Research, London, UK

4 Department of Parasitology, Liverpool School of Tropical Medicine, Liverpool, UK

5 Ministry of Health, Asir District, Abha, Kingdom of Saudi Arabia

6 Natural History Museum, Parasites and Vectors Division, Life Sciences Department, London, UK

7 Department of Tropical Disease Biology, Liverpool School of Tropical Medicine, Liverpool, UK

8 Vector Control Division, Ministry of Health, Kampala, Uganda

\*Correspondence: tapan.bhattacharyya@lshtm.ac.uk

† Sandra J. Molina-Gonzalez, Tapan Bhattacharyya and Amaya L. Bustinduy contributed equally to this work.

Emails:

SJMG: Sandra.Molina@lshtm.ac.uk

TB: tapan.bhattacharyya@lshtm.ac.uk

HRA: Hajri.Alshehri@lstmed.ac.uk

KP: kate\_poulton@hotmail.com

SA: stephen.allen@lstmed.ac.uk

MAM: Michael.Miles@lshtm.ac.uk

MA: moses0772359814@gmail.com

EMT: edmuheki@gmail.com

BW: b.webster@nhm.ac.uk

JRS: Russell.Stothard@lstmed.ac.uk

ALB: Amaya.Bustinduy@lshtm.ac.uk

**Abstract**

**Background**

***Giardia duodenalis* is a common gastrointestinal protozoan causing 184 million cases of giardiasis worldwide annually. Detection is by microscopy or coproantigen assays, although diagnostic sensitivity is often compromised by intermittent shedding of cysts or trophozoites, as well as operator expertise. Therefore, for enhanced surveillance field-applicable, point-of-care (POC), molecular assays are needed. Our aims were to: 1) optimise the recombinase polymerase amplification (RPA) assay for the isothermal amplification of the *G. duodenalis* β-giardin gene from trophozoites and cysts, using published primer and probe sequences, and 2) perform a pilot field validation of RPA at a field station in a resource-poor setting, on DNA extracted from stool samples from schoolchildren in villages around Lake Albert, Uganda. Results were compared to an established laboratory** **small subunit ribosomal RNA (SSU rDNA) qPCR with additional testing using a specific assemblage qPCR targeting the triose phosphate isomerase(*tpi*) DNA regions that can distinguish *G. duodenalis* of two different assemblages (A and B), which are human specific.**

**Results**

**Initial optimisation resulted in the successful amplification of predicted RPA products from *G. duodenalis*-purified gDNA, producing a double-labelled amplicon detected using lateral flow strips. In the field setting, of 129 stool samples, 49/129 (37.9%) were positive using the *Giardia/Cryptosporidium* QuikChek coproantigen test, however, the RPA assay when conducted in the field was only positive for a single stool sample. Subsequent molecular screening in the laboratory on a subset (73) of the samples gave better results with 21 (28.8%) RPA positive. The SSU rDNA qPCR assay gave 30/129 (23.3%) positive samples; 18/73 (24.7%) were assemblage typed: 9 assemblage A; 5 assemblage B, and 4 mixed A+B. Compared with the SSU rDNA qPCR, QuikChek was more sensitive than RPA (85.7% vs. 61.9%), but with similar specificities (80.8% vs. 84.6%). In comparison to QuikChek, RPA had 46.4% sensitivity and 82.2% specificity.**

**Conclusions**

**This is the first in-field and comparative laboratory validation of the RPA assay for giardiasis in low resource settings. Further refinement and technology transfer, specifically in relation to stool sample preparation, will be needed to implement this assay in the field which could assist in better detection of asymptomatic *Giardia* infections.**

**Background**

*Giardia duodenalis* (syn. *G. lamblia*, syn. *G. intestinalis*) is a flagellated protozoan parasite of the human gastrointestinal tract as well as a range of other mammals worldwide. It is acquired by ingestion of viable cysts present in faecal-contaminated water, food or on fomites [1]. Ingested cysts undergo excystation into actively multiplying trophozoites in the duodenum, which attach to the intestine causing epithelial inflammation, villous flattening and malabsorption. Symptoms include acute or chronic diarrhoea, weight loss and impaired development in children [1, 2]. The encysted stage is passed in stool [2]. Symptomatic giardiasis results in around 184 million clinical cases globally per year. *G. duodenalis* infection can be asymptomatic and undetected carriers remain a source of infection. On the basis of molecular characterisation, *G. duodenalis* is divided into 8 genetic assemblages A-H, of which A and B are considered human–specific [3]; thus, it is important to identify which assemblages are present during validation of any new molecular diagnostic based on species-specific DNA loci.

Detection of *G. duodenalis* is routinely carried out by identifying cysts or trophozoites in faeces using direct microscopy, with variable sensitivity and specificity. These methods can be labour-intensive, requiring multiple examinations or involve complicated concentration procedures best performed by experienced technicians [4, 5]. Immunological and molecular techniques have achieved better sensitivity of 79-100% [6] but specificity can be reduced. A drawback of molecular assays is often the need for expensive and sophisticated equipment that is not available in resource-poor endemic settings. Giardiasis is particularly common in Uganda [7]. Al-Shehri et al [8] reported a prevalence of *G. duodenalis* infection at 42% (40/96) using the rapid QuikChek coproantigen test and 87% (221/254) by qPCR in Ugandan children (5-10 years), with many heavy infections.

Unlike conventional PCR-based methods, recombinase polymerase amplification (RPA) is an isothermal amplification system that is rapid and requires only basic and portable equipment [9] making it feasible for the point-of-care (POC) diagnosis of tropical diseases in low resource endemic settings. Crannell et al [10] developed an RPA assay for *G. duodenalis* amplifying a fragment of the β-giardin gene. Here, we further optimised this RPA assay for *G. duodenalis* for use in a resource-poor setting, and tested its applicability at a field station in a remote rural area near Lake Albert, Uganda, highly endemic for giardiasis. Additionally, we utilised the commercially available *Giardia*/*Cryptosporidium* QuikChek coproantigen test (Abbot, UK), in the field to investigate the prevalence of giardiasis in a cohort of children from the endemic area of Lake Albert. Samples from this cohort were also analysed using the small subunit ribosomal RNA gene (SSU rDNA) qPCR assay for *Giardia* and also the triose phosphate isomerase (*tpi*) qPCR assay to enable discrimination of assemblage A and B *G. duodenalis* [11]. RPA and the QuikChek coproantigen test were compared against the SSU rDNA qPCR as the ‘gold standard’.

**Methods**

**Laboratory RPA optimisation**

***G. duodenalis genomic DNA controls***

Cryopreserved *G. duodenalis* trophozoite pellets, assemblage A (sourced from the London School Hygiene and Tropical Medicine (LSHTM)) and *G. duodenalis* cysts H-3 (human isolate, assemblage B; P101, Waterborne Inc., USA) were used as sources of control DNA for the testing of the RPA and qPCR assays. The control DNA samples were extracted using the QIAamp DNA Mini Kit (51304: Qiagen, UK), with modifications: cells were mixed with 1 ml of NucliSENS lysis buffer (supplied as containing 50% guanidine thiocyanate, <2% Triton X-100, <1% EDTA) (200292: BioMerieux, UK) and Precellys Soil Mix beads SK38 (03961-1-006: Stretton Scientific, UK). Samples were vortexed for 5 minutes, and incubated at room temperature for 20 minutes. Beads and debris were pelleted by centrifugation at 14,000 rpm for 2 minutes. 200 µl of supernatant was transferred to a clean microcentrifuge tube and the manufacturer’s protocol for Qiagen 51304 was thereafter followed, with the DNA being eluted in 200 µl of AE buffer (10 mM Tris-Cl, 0.5 mM EDTA; pH 9.0).

***Recombinase Polymerase Amplification (RPA) and lateral flow* G. duodenalis *assay***

All primer and probe sequences used were as previously described [10] (Additional file 1: Table S1). Figure 1a depicts the binding locations on the RPA probes and primers for the β-giardin gene.

Three different areas in the laboratory were assigned for 1) the RPA master mix preparation, 2) the addition of DNA and 3) the RPA reaction and lateral flow amplicon detection in a laminar flow hood. This was done to prevent cross contamination and false positives. Reactions were performed using the TwistAmp nfo kit (TANFO02KIT: TwistDx, UK) in a final volume of 50 µl. The master mix consisted of 29.5 µl of rehydration buffer, 2.1 µl of 10 µM forward primer, 2.1 µl of 10 µM reverse primer, 0.6 µl of 10 µM probe, 7.5 ul µl of 5 M betaine (720 mM) (B0300: Sigma, UK) and 2.5 µl of H2O. The RPA nfo pellets were transferred to sterile individually capped 0.2 ml tubes, to which 37.5 µl of master mix was added. Then 2.5 µl of 280 mM magnesium acetate was added to the inside wall of each tube. Ten microlitres of extracted DNA was added to the tubes, which were then inverted manually 8 to 10 times and centrifuged briefly. Negative controls (no template) were incorporated into each set of reactions.

Reactions were incubated at 37°C for 30 minutes in a thermal cycler (Applied Biosystems 9700). At minutes 4 and 15 of the incubation, the tubes were removed from the cycler, inverted manually 8 to 10 times and then centrifuged briefly before being placed in the incubator. After 30 minutes of incubation, the reactions were immediately placed at 4ºC. Rapid detection of the FAM-biotin double-labelled amplification product was visualised using lateral flow Milenia Genline HybriDetect (MGHD) strips in a dipstick format and also the PCRD Nucleic Acid Detector lateral flow cassettes (Abingdon Health, UK). Detections using the MGHD strips were performed by adding 2 µl of the RPA reaction to 98 µl of supplied detection buffer, into which the strips were then placed; after 5 minutes of incubation at room temperature the results were assessed visually as positive or negative by the presence or absence of the test line. For the PCRD3 cassettes, the following manufacturer’s recommendations were used: 5 µl of the RPA reaction was added to 70 µl of the cassette running buffer; the whole 75 µl was then added to the PCRD cassette window and incubated at room temperature for 10 minutes. These assays were also assessed visually by the presence or absence of the test line.

Successful RPA reactions were also assessed by electrophoresis of the reaction products. Amplicons werecolumn-purified (28104: Qiagen, UK) and then run on 2% agarose gel to check for specific amplification of the 153 bp amplicon, i.e., the double-labelled RPA product.

**Field assessment at Lake Albert, Uganda**

***Stool collection***

Single stool samples were collected from primary school children in three Ugandan villages on the shore of Lake Albert. Participant children were randomly selected from schools where studies of intestinal schistosomiasis were ongoing [12]. A field station laboratory was set up nearby at the Bugoigo research camp consisting of a small building with separate areas for DNA extraction from the stool samples, RPA preparation, and amplicon detection. The field station was equipped with all the necessary resources for performing the stool DNA extractions and the RPA with electricity supplied by means of a portable generator. An aliquot of fresh stool (approx. 500 µl) was homogenized with PBS (1:1). A second aliquot of stool was prepared by homogenizing 500 µl of fresh faeces with 500 µl of 70% ethanol, in a 2.0 ml screw-cap tube; these aliquots were stored for later testing as described below.

***Coproantigen test***

An aliquot of stool was also tested at the field station with the commercially available *Giardia*/*Cryptosporidium* QuikChek coproantigen test (Abbot, UK), according to manufacturer’s instructions. Briefly, the stool sample was added to the supplied diluent/conjugate mixture, transferred to the test cassette containing anti-*Giardia* monoclonal antibodies, and after addition of supplied wash buffer and substrate, results were read visually.

***Field stool DNA extraction for RPA.***

DNA was extracted from each stool sample homogenized in PBS using the QIAamp DNA Mini Kit (51304: Qiagen). Approximately 200 mg of the stool samples were transferred to a 2 ml screw-cap tube containing 1 ml of the NucliSENS lysis buffer and the Precellys Soil Mix beads SK38. Samples were vortexed for 5 minutes, and incubated at room temperature for 20 minutes. Beads and debris were collected in a pellet by centrifugation at 14,000 rpm for 2 minutes. 200 µl of the supernatant was transferred to a clean microcentrifuge tube and the manufacturer’s protocol was followed thereafter, with the DNA being eluted in 200 µl of AE buffer.

***Field RPA analysis.***

RPA assays were performed in the field using the assay conditions as described above, except that 0.7 µl of 5M betaine (70 mM) was added for each reaction.. Amplification was carried out at 37°C using a dry block heater (SP2280: SciQuip, UK). Detection of amplicons was done using PCRD Nucleic Acid Detector lateral flow cassettes as described above.

**Subsequent laboratory testing of the field samples at LSHTM**

***Stool DNA extraction.***

Stool samples that had been stored in ethanol were washed 3 times with PBS and then extracted using the QIAamp DNA Stool Mini Kit (51504: Qiagen) following the manufacturer’s protocol, and eluted in 200 µl of supplied buffer AE. The DNA concentration was determined using a Nanodrop ND-1000 spectrophotometer. The use of this kit, an alternative to the QIAamp DNA Mini Kit used in the original *Giardia* RPA assay published by Crannell et al [10] and in this work at the Lake Albert field station, was employed here to remove potential inhibitors from the samples for downstream molecular assays. These assays were: RPA (as detailed above); assemblage-specific qPCR (*tpi* gene); and non-assemblage specific SSU qPCR tested.

***Assemblage-specific qPCR assays.***

The assemblage-specific multiplex qPCR [11] was performed on individual samples. Primers and probes are listed in Additional file 1: Table S1 and binding sites are shown in Additional file 2: Figure S1. Each reaction was performed in a total volume of 20 µl, and comprised 10 µl of 2 x reaction mix (B20.23-01, PCR Biosystems, UK), 0.8 µl of a 10 µM solution of each forward and reverse primer for assemblage A and B, 0.4 µl of a 10 µM solution of each assemblage (A and B) probe, 4.4 µl of DNA, and 1.6 µl of ddH2O. Samples were run on a Rotor-Gene 3000 machine (Corbett Research, Australia) using cycling conditions: 1 cycle at 95°C for 2 mins; 40 cycles at 95°C for 5 seconds and 60°C for 30 secs. Each qPCR run included positive controls containing DNA extracted from trophozoite (assemblage A) and cyst (assemblage B). Thresholds to calculate Ct values were set compared to water controls in each run. Negative (no template) reactions were run with each set of reactions.

***SSU rDNA qPCR***

The SSU rDNA qPCR was performed on the same DNA extracts as described above using the primer and probe sequences as previously described [13, 14], Primers and probe are listed in Additional file:1: Table S1 and binding sites are shown in Additional file 2: Figure S1. Reactions were performed in a total volume of 20 μl, and comprised 10 µl of 2 x reaction mix (B20.23-01: PCR Biosystems, UK), 0.8 µl of a 10 µM solution of each primer, 0.4 µl of a 10 µM solution of probe, 5 µl of DNA, and 3 µl of ddH2O. Samples were run on a Rotor-Gene 3000 as described above.

**Statistical tests.**

95% confidence intervals (CI) for sensitivity and specificity comparisons of SSu rDNA qPCR, RPA and QuikChek were calculated using Graphpad QuickCalcs (https://www.graphpad.com/quickcalcs/ConfInterval1.cfm).

Receiver operating characteristic (ROC) curves for comparing RPA and the QuikChek coproantigen test against the SSU rDNA qPCR as the ‘gold standard’ were calculated using easyRoc v1.3.1 (http://www.biosoft.hacettepe.edu.tr/easyROC/). P values of <0.05 were considered significant.

**Results**

**RPA optimisation at LSHTM.**

As shown in Figure 1b, the RPA with DNA extracted from the *G.* *duodenalis* cultures generated amplicons of the predicted sizes from the β-giardin gene. The 153 bp FAM-biotin double-labelled product could be reliably identified by the PCRD lateral flow cassette; cyst DNA diluted to 104 (approximately 6 ng/µl) generated RPA products detectable by lateral flow and confirmed by gel electrophoresis (Figure 1c). As predicted from the binding sites of the RPA primers and probe (Figure 1a), two amplicons were produced: the 153 bp double-labelled amplicon produced by the RPA probe with primer RPA LF REV, and the 183 bp amplicon produced by primers RPA FOR and RPA LF REV. As described by Piepenburg et al [9] the RPA probe binds the 183 bp amplicon, allowing nfo endonuclease to expose a 3’ -OH, and Bsu polymerase to generate the 153-bp double-labelled amplicon. We observed, during our initial optimisation phase that the MGHD strips were prone to producing false-positive results from water (no template) controls, and thus were not well suited for field application, so the use of those strips was discontinued and the PCRD3 cassettes were utilised. Another crucial modification during the optimisation was the addition of betaine into the RPA reaction mix, following determination of optimal concentration via titration. This reagent was used to prevent the formation of false-positive products generated in no-template controls due to secondary structure formation by the primers and probe.

**Assays performed at the field station**.

The location and lakeshore environment of Bugoigo are shown Figure 2a. The equipment used at the field station laboratory (including microcentrifuge for spin-column DNA extraction and dry heating block for isothermal incubation of RPA reactions) functioned reliably, allowing a total of 129 collected stool samples to be assayed. RPA gave positive results using control DNA from purified trophozoites, and also a single stool sample extracted in the field (Figure 2b). However, the remaining samples extracted and tested in the field were negative by RPA, with no false-positives observed. Forty-nine stool samples from the 129 examined (37.9%) were positive using the *Giardia/Cryptosporidium* QuikChek (Table 1).

**Subsequent assays performed at LSHTM on the field samples extracted using the QIAamp DNA Stool Mini Kit.**

Of the 129 samples tested 30 (23.25%) were positive for *G. duodenalis* by SSU rDNA qPCR (Table 1). Due to resource limitations, only a subset of 73 samples could be assayed by RPA at LSHTM. Of these 73: 21 (28.8%, 95% CI 19.6 – 40.1) were RPA positive; 13 (17.8%, 10.6 – 28.3) were positive by both RPA and the SSU rDNA qPCR (Table 2); and 10 (13.7%, 7.4 – 23.6) were positive by all three assays, QuikChek coproantigen, SSU rDNA qPCR and RPA.

Within this subset, considering the SSU rDNA qPCR (n = 21 positive) as the ‘gold standard’, the QuikChek coproantigen test (18/21; 85.7%, 95 % CI 64.5 - 95.8) was more sensitive than RPA (13/21, 61.9%, 40.1 – 79.3), but with similar specificities (80.8%, 67.9 – 89.4 vs. 84.6%, 72.2 – 92.2 respectively) (Table 2). Compared to the QuikChek coproantigen test RPA had sensitivity of 46.4% (95 % CI 29.5 – 64.2) and specificity of 82.2% (68.4 – 90.1) (Table 3). Figure 3 shows the corresponding ROC curves for the gold standard SSU rDNA qPCR: for RPA, the area under the curve (AUC) was 0.73 (CI 0.62-0.85) (p = 0.0001); for QuikChek the AUC was 0.83 (CI 0.74-0.93) (p <0.0001).

For the *G*. *duodenalis* assemblage A and B qPCR, from the subset of 73 samples tested, assemblage typing was performed for 18 (24.7%) of the samples and characterised as: 9 samples assemblage A; 5 samples assemblage B, and 4 samples of mixed assemblage infections for A and B.

**Discussion**

In this study we found the RPA assay, when tested in the laboratory at the LSHTM, to have 61.9% sensitivity and 84.6% specificity, compared to the gold standard SSU rDNA qPCR for detecting *G. duodenalis* in faecal samples collected from school children in endemic villages around Lake Albert, Uganda. We have demonstrated here that the RPA assay can be used to amplify and detect specific DNA regions of *G. duodenalis* within faecal extracts, and that the assay is transposable to field station facilities, albeit with scope for further development, specifically in relation to the sample preparation. Crannell et al [10] first developed the β-giardin RPA assay for *G. duodenalis*, which was assessed on spiked stool samples from healthy subjects and on samples from children in Peru, reporting 73% sensitivity against a gold standard of positivity by qPCR or microscopy, but acknowledged that the assay required further improvement and validation under field conditions.

Of note, during the course of this work, we encountered several unexpected technical issues, relating to faecal DNA extraction and subsequent RPA reaction and detection. Stool samples contain many inhibitors that are detrimental to molecular assays and it is crucial to reduce their presence as much as possible. Furthermore, faecal matter and *Giardia* cysts may require additional physical disruption to facilitate DNA extraction. The use of both the QIAamp DNA Mini Kit and QIAamp DNA Stool Mini Kit has been reported in the literature for stool *Giardia* DNA extraction. Initially during the RPA optimisation phase at LSHTM and at the Bugoigo field station, we used the QIAamp DNA Mini Kit in a modified protocol that included preliminary steps employing soil mix beads and NUCLISENS lysis buffer prior to standard extraction protocol. For better field applicability, the possible effects on DNA extraction of local temperature and humidity should be considered. However, as an alternative method, we later changed to the QIAamp DNA Stool Mini Kit which greatly increased the performance of the RPA assay.

Additionally the combination of betaine in the reaction mix and the use of the PCRD cassettes for detection [15], rather than the MGHD strips reported previously for this *Giardia* RPA [10], greatly increased the reliability of the RPA technique in our hands. We found that in initial laboratory optimisation the RPA assays without betaine were susceptible to giving false positives, although this could be controlled by using a concentration of 720 mM betaine with purified culture DNA; however, as this may have suppressed weak positives from stool-extracted DNA, we found after serial titration of spiked stool that this could be decreased to 70 mM for stool-extracted DNA. However, we cannot discount the possibility that the use of betaine may have also decreased the sensitivity of the assay. The AUC values from ROC curve analysis are encouraging, with scope for further optimisation. A future development of the RPA approach applied here to *Giardia* DNA would be the use of real time fluorescent RPA assays (TwistDx exo). This uses a fluorescent probe that can be detected during DNA amplification and reactions can be run in small portable temperature-controlled fluorescence readers. These assays have also been reported to be more sensitive, have a reduced risk of cross-contamination and are more straightforward to carry out [16]. However, sample preparation is key for assay robustness and the need for the equipment needed for the extraction kits used reduces the field applicability of the RPA assay.

*Giardia duodenalis* subspecies assemblages A and B are considered to be human-specific [3]. Studies that have associated assemblage with clinical manifestations have not revealed a straightforward relationship, and there are conflicting reports from different settings of assemblages A or B being associated with diarrhoea and other symptoms [17]. The assemblage A- and B- specific qPCRs used here were first reported on giardiasis cases in the UK [11], with this same method later used on Ugandan [18] and Cambodian samples [19]. Assemblage typing from Ugandan human samples has reported assemblages A and B in single and mixed infections [18, 20, 21, 22, 23]. Additional file 3: Figure S2 maps the assemblage typing from human samples from the present study and from the five previous reports, which have used the *tpi* gene and other genetic targets. As seen in the previous studies, we detected both assemblages A and B circulating in human populations in Uganda, and here in the Lake Albert environment. In addition to disease surveillance, this RPA assay may also be applicable to monitor therapeutic outcome of treatment and also to detection *Giardia* in faecal samples from infected animals.

***Study limitations***

There are some limitations of this study. Issues relating to the extraction of high-purity DNA from stool impeded the field validations and should be further investigated, including alternative, more streamlined, methods for DNA extraction, such as that used for RPA with bovine stool [24], with emphasis on standardisation for field application. The absolute limit of detection of stool-extracted *Giardia* DNA by this RPA should be fully determined, particularly in relation to that for SSU rDNA qPCR. Additionally, validation is needed on a set of well-defined clinical samples containing other gastro-intestinal pathogens to evaluate assay specificity, although the RPA-amplified sequence is specific to *G. duodenalis* by NCBI BLAST search

**Conclusions**

We have shown here that RPA can be applied successfully for the detection of *Giardia* DNA in field-collected stool samples for disease surveillance; however further optimisation of sample preparation, particularly with regard to DNA extraction from stool are required to make this RPA more suitable as Point-of-Care test, prior to subsequent field validations.

**Additional files**

**Additional file 1:** **Table S1.** Sequences of primers and probes for the RPA and qPCR assays.

**Additional file 2:** **Figure S1.** *Giardia duodenalis* qPCR targets. The figure shows the binding sites of primers (clear boxes) and probes (shaded boxes). Reverse primers are depicted on the corresponding sequence on the sense strand. (**a**) Assemblage specific qPCR of the *tpi* gene. The last either three or four bases at the 3’ end of the forward and reverse primers exploit assemblage A and B -specific polymorphisms of *tpi* and enable discrimination between assemblage A and B: assemblage A GDAT probe has 5’ VIC and 3’ BHQ1; assemblage B GDBT probe has 5’ FAM and 3’ NFQ. (**b**) Non-assemblage specific qPCR of the SSU rRNA gene: SSU probe has 5’ JOE and 3’ BHQ1. Abbreviations: FAM, JOE, VIC = fluorescent dyes; BHQ1 = black hole quencher 1; NFQ = non-fluorescent quencher; nts = nucleotides; tpi = triose phosphate isomerase].

**Additional file 3: Figure S2**. Reports of *G. duodenalis* assemblage typing from Ugandan human samples. NP = National Park. Numbers in brackets refer to cited reference list in main manuscript.

**Keywords**

*Giardia duodenalis, Giardia intestinalis, Giardia lamblia,* Point-of-care*,* Recombinase polymerase amplification*,* Giardiasis*,* Assemblage typing, Uganda*,* Epidemiology.

**Acknowledgements**

At LSHTMwe thank Debbie Nolder for providing the *Giardia* trophozoites, and Chrissy Roberts and Robert Butcher for access to laboratory facilities.

**Declarations**

**Ethics approval and consent to participate**.

This study (CiC160430AB17) was approved by the respective Ethics Committees of the Liverpool School of Tropical Medicine and the London School of Hygiene and Tropical Medicine (LSHTM), UK (Ref: 12034), and the Vector Control Division, Ministry of Health, Uganda.

**Consent for publication**

Not applicable

**Availability of data and material**

 The dataset supporting the conclusions of this article is included within the article.

**Competing interests**

The authors declare that they have no competing interests

**Funding**

This work was funded by a UK Medical Research Council Confidence-in-Concept grant to ALB. The funding body had no role in the design of the study and collection, analysis, and interpretation of data and in writing the manuscript.

**Authors' contribution**

ALB, JRS conceived the study; SJMG, TB, HAS, ALB performed the work and acquired the data. SJMG, TB, ALB wrote the manuscript. KP, SA, MA, EMT, MAM, BW, JRS provided methodological input, and contributed to writing the manuscript. All authors read and approved the final manuscript.

**REFERENCES**

1. Minetti C, Chalmers RM, Beeching NJ, Probert C, Lamden K. Giardiasis. BMJ.2016;355:i5369.

2. Zhen Y, Liao L, Zhang H. Intestinal giardiasis disguised as ulcerative colitis. Case Rep Gastrointest Med.2018;2018:8968976.

3. Heyworth MF. *Giardia duodenalis* genetic assemblages and hosts. Parasite.2016;23:13.

4. Escobedo AA, Almirall P, Hanevik K, Cimerman S, Rodriguez-Morales AJ, Almanza C, et al. Giardiasis: a diagnosis that should be considered regardless of the setting. Epidemiol infect.2018;146:1216-8.

5. Soares R, Tasca T. Giardiasis: an update review on sensitivity and specificity of methods for laboratorial diagnosis. J Microbiol Methods.2016;129:98-102.

6. Koehler AV, Jex AR, Haydon SR, Stevens MA, Gasser RB. *Giardia*/giardiasis - a perspective on diagnostic and analytical tools. Biotechnol Adv.2014;32:280-9.

7. McElligott JT, Naaktgeboren C, Makuma-Massa H, Summer AP, Deal JL. Prevalence of intestinal protozoa in communities along the Lake Victoria region of Uganda. Int J Infect Dis.2013;17:e658-9.

8. Al-Shehri H, Stanton MC, LaCourse JE, Atuhaire A, Arinaitwe M, Wamboko A, et al. An extensive burden of giardiasis associated with intestinal schistosomiasis and anaemia in school children on the shoreline of Lake Albert, Uganda. Trans R Soc Trop Med Hyg.2016;110:597-603.

9. Piepenburg O, Williams CH, Stemple DL, Armes NA. DNA detection using recombination proteins. PLoS Biol.2006;4:e204.

10. Crannell ZA, Cabada MM, Castellanos-Gonzalez A, Irani A, White AC, Richards-Kortum R. Recombinase polymerase amplification-based assay to diagnose *Giardia* in stool samples. Am J Trop Med Hyg.2015;92:583-7.

11. Elwin K, Fairclough HV, Hadfield SJ, Chalmers RM. *Giardia duodenalis* typing from stools: a comparison of three approaches to extracting DNA, and validation of a probe-based real-time PCR typing assay. J Medical Microbiol.2014;63:38-44.

12. Smith C, McLachlan G, Al Shehri H, Adriko M, Arinaitwe M, Atuhaire A, et al. *Schistosoma mansoni* infection as a predictor of low aerobic capacity in Ugandan children. Am J Trop Med Hyg.2019;100:1498-506.

13. Verweij JJ, Schinkel J, Laeijendecker D, van Rooyen MA, van Lieshout L, Polderman AM. Real-time PCR for the detection of *Giardia lamblia*. Mol Cell Probes.2003;17:223-5.

14. Verweij JJ, Blange RA, Templeton K, Schinkel J, Brienen EA, van Rooyen MA, et al. Simultaneous detection of *Entamoeba histolytica*, *Giardia lamblia*, and *Cryptosporidium* *parvum* in fecal samples by using multiplex real-time PCR. J Clin Microbiol.2004;42:1220-3.

15. Poulton K, Webster B. Development of a lateral flow recombinase polymerase assay for the diagnosis of *Schistosoma mansoni* infections. Anal Biochem.2018;546:65-71.

16. Rostron P, Pennance T, Bakar F, Rollinson D, Knopp S, Allan F, et al. Development of a recombinase polymerase amplification (RPA) fluorescence assay for the detection of *Schistosoma haematobium*. Parasit Vectors.2019;12:514.

17. Caccio SM, Lalle M, Svard SG. Host specificity in the *Giardia duodenalis* species complex. Infect Genet Evol.2017; 66:335-345.

18. Al-Shehri H, James LaCourse E, Klimach O, Kabatereine NB, Stothard JR. Molecular characterisation and taxon assemblage typing of giardiasis in primary school children living close to the shoreline of Lake Albert, Uganda. Parasite Epidemiol Control.2019;4:e00074.

19. Moore CE, Elwin K, Phot N, Seng C, Mao S, Suy K, et al. Molecular characterization of *Cryptosporidium* Species and *Giardia duodenalis* from symptomatic Cambodian children. PLoS Negl Trop Dis.2016;10:e0004822.

20. Graczyk TK, Bosco-Nizeyi J, Ssebide B, Thompson RC, Read C, Cranfield MR. Anthropozoonotic *Giardia duodenalis* genotype (assemblage) a infections in habitats of free-ranging human-habituated gorillas, Uganda. J Parasitol.2002;88:905-9.

21. Johnston AR, Gillespie TR, Rwego IB, McLachlan TL, Kent AD, Goldberg TL. Molecular epidemiology of cross-species *Giardia duodenalis* transmission in western Uganda. PLoS Neg Trop Dis.2010;4:e683..

22. Ankarklev J, Hestvik E, Lebbad M, Lindh J, Kaddu-Mulindwa DH, Andersson JO, et al. Common coinfections of *Giardia intestinalis* and *Helicobacter pylori* in non-symptomatic Ugandan children. PLoS Negl Trop Dis.2012;6:e1780.

23. Nolan MJ, Unger M, Yeap YT, Rogers E, Millet I, Harman K, et al. Molecular characterisation of protist parasites in human-habituated mountain gorillas (*Gorilla beringei beringei*), humans and livestock, from Bwindi impenetrable National Park, Uganda. Parasit Vectors.2017;10:340.

24. Hansen S, Roller M, Alslim LMA, Bohlken-Fascher S, Fechner K, Czerny CP, et al. Development of rapid extraction method of *Mycobacterium avium* subspecies *paratuberculosis* DNA from bovine stool samples. Diagnostics (Basel).2019;9:36.

**Figure legends**

**Figure 1. RPA of the *G. duodenalis* β-giardin gene**. **(**a) RPA primers amplify nts 796-978 of GenBank X85958: binding sites of primers (clear boxes) and probe (shaded box) with modifications of the probe (5’ FAM, internal THF, 3’ block) and the reverse primer (5’ biotin); reverse primer is depicted on the corresponding sequence of the sense strand. (**b**) Identification of predicted amplification products by gel electrophoresis. See Methods for the derivation of the two amplicons. (**c**) Presence of the double-labelled RPA product detected visually on the lateral-flow cassette from trophozoite and cyst DNA. Abbreviations: Mk = DNA size marker; nts = nucleotides; THF = tetrahydrofuran.

**Figure 2. Lake Albert field setting**. (**a**) Map of Uganda showing the location of Bugoigo field site and lakeshore environment. (**b**) RPA under field conditions gave positive results for control DNA from *G. duodenalis* trophozoites and a stool sample. Photo credit: A. Bustinduy. Map source: www.simplemappr.net.

**Figure 3. ROC curves of RPA and QuikChek against SSU rDNA qPCR.**

**Tables**

**Table 1**. Results of field samples assayed by QuikChek and SSU rDNA qPCR for *Giardia* (n = 129).

|  |  |  |
| --- | --- | --- |
|  | Positive | Negative |
| QuikChek  | 49 | 80 |
| SSU qPCR | 30 | 99 |

**Table 2**. Results comparing QuikChek and RPA with SSU rDNA qPCR (n = 73).

|  |  |  |
| --- | --- | --- |
|  |  | **SSU rDNA qPCR** |
|  |  | Positive | Negative |
| QuikChek | Positive | 18 | 10 |
|  | Negative | 3 | 42 |
| RPA | Positive  | 13 | 8 |
|  | Negative  | 8 | 44 |

**Table 3.** Results comparing QuikChek and RPA (n = 73).

|  |  |  |
| --- | --- | --- |
|  |  | **QuikChek** |
|  |  | Positive | Negative |
| RPA | Positive  | 13 | 8 |
|  | Negative  | 15 | 37 |