Development of high-throughput screening assays for profiling snake venom Phospholipase A2 activity after chromatographic fractionation

Kristina B.M. Still1,2, Julien Slagboom1,2, Sarah Kidwai1, Chunfang Xie1,2, Yumei Zhao3, Bastiaan Eisses1, Zhengjin Jiang3, Freek J. Vonk1,4, Govert W. Somsen1,2, Nicholas R. Casewell5,6, Jeroen Kool1,2\*

1 Division of BioAnalytical Chemistry, Amsterdam Institute of Molecular and Life Sciences, Vrije Universiteit Amsterdam, De Boelelaan 1085, 1081 HV Amsterdam, The Netherlands

2 Centre for Analytical Sciences Amsterdam (CASA), The Netherlands

3Institute of Pharmaceutical Analysis, College of Pharmacy, Jinan University, Huangpu Avenue West 601, Guangzhou, China

4Naturalis Biodiversity Center, Leiden, The Netherlands

5 Centre for Snakebite Research & Interventions, Liverpool School of Tropical Medicine, Pembroke Place, Liverpool, L3 5QA, UK

6 Centre for Drugs and Diagnostics, Liverpool School of Tropical Medicine, Liverpool, L3 5QA, UK

\*Corresponding author: j.kool@vu.nl

Abstract

Many organisms, ranging from plants to mammals, contain phospholipase A2 enzymes (PLA2s), which catalyze the production of lysophospholipids and fatty acid proinflammatory mediators. PLA2s are also common constituents of animal venoms, including bees, scorpions and snakes, and they cause a wide variety of toxic effects including neuro-, myo-, cyto-, and cardio-toxicity, anticoagulation and edema. The aim of this study was to develop a generic method for profiling enzymatically active PLA2s in snake venoms after chromatographic separation. For this, low-volume high-throughput assays for assessment of enzymatic PLA2 activity were evaluated and optimized. Subsequently, the assays were incorporated into a nanofractionation platform that combines high-resolution fractionation of crude venoms by liquid chromatography (LC) with bioassaying in 384-well plate format, and parallel mass spectrometric (MS) detection for toxin identification. The miniaturized assays developed are based on absorbance or fluorescence detection (respectively, using cresol red or fluorescein as pH indicators) to monitor the pH drop associated with free fatty acid formation by enzymatically active PLA2s. The methodology was demonstrated for assessment of PLA2 activity profiles of venoms from the snake species *Bothrops asper*, *Echis carinatus*, *Echis coloratus, Echis ocellatus*, *Oxyuranus scutellatus* and *Daboia russelii russelii*.

1. Introduction

Phospholipase A2 (PLA2, EC 3.1.1.4) is a common enzyme occurring in many organisms, ranging from plants to mammals.(Murakami et al., 2011) PLA2s are crucial enzymes in lipid metabolism and lipid-protein interactions. They also play a significant role in various cellular processes such as biotransformation and digestion of phospholipids, signal transduction and host defense.(Dennis et al., 2011) PLA2s are connected to human pathophysiological events and associated with certain types of cancers, arthritis, and inflammatory disorders, and therefore have been studied extensively.(Brglez et al., 2014; Murakami et al., 2014; sastry Yarla et al., 2015)

PLA2s are also widely distributed in animal venoms. Snake venom PLA2s (svPLA2s) can be major toxin components – they often comprise 30-71% of the total venom proteins, and they can also be diverse in terms of amino acid composition, as evidenced by the UniProtKB database containing over 400 unique svPLA2s.(Tasoulis and Isbister, 2017) In addition to catalyzing the production of lysophospholipids and fatty acid pro-inflammatory mediators, svPLA2s are multifunctional enzymes and cause a wide variety of toxic effects ranging from neurotoxicity, myotoxicity, anticoagulant effects, cytotoxicity, cardiotoxicity, to edema.(Ferraz et al., 2019) Because of the pathological consequences of these toxins to prey and snakebite victims, svPLA2s have been extensively investigated.(Ferraz et al., 2019; Panfoli et al., 2010) Since May 2018, snake envenoming has been categorized as one of the most neglected tropical diseases.(World Health Organization, 2018) The annual number of human snakebites is estimated to be between 1.8 and 2.7 million worldwide, resulting in 81,000–138,000 deaths and around three times more cases of permanent morbidity.(Gutiérrez et al., 2017) Many victims receive inadequate treatment or no treatment at all. The World Health Organization (WHO) has therefore adopted a resolution towards tackling this devastating global health problem.(Gutiérrez et al., 2017)

Snake venoms are complex biochemical mixtures that are injected via the fangs of snakes for killing prey and for defense. These venoms comprise many different pathological proteins and peptides, and other organic molecules. Venom composition is typically complex (50-200 proteins per species) and highly variable, with often extensive inter-specific, and even, intra-specific venom variations observed.(Casewell et al., 2014; Haney et al., 2019) Rooted in the latter are geographical differences, living habitat, sex, and age of a snake, thereby increasing venom complexity even more.(Calvete, 2019; Gopalakrishnakone and Calvete, 2016) Consequently, antivenom therapies, which are based on antibodies produced in horses or sheep following their immunization with venom or mixtures of venoms, are highly specific to those venoms used for production, but often lack efficacy for treating snakebites by other snake species.(Casewell et al., 2014) In recent years, research efforts have increased on the potential utility of small molecule drugs as potential alternatives for conventional antivenom therapies. These promising approaches focus on neutralizing entire classes of venom enzymes, irrespective of sequence and structural variation, with small molecular inhibitors or metal chelators. For instance, recent studies have demonstrated that enzyme inhibitors and metal chelating agents, such as EDTA and DMPS, are capable of neutralizing snake venom metalloproteinase toxins in pre-clinical models of envenoming.(Ainsworth et al., 2018; Albulescu et al., 2019) In relation to svPLA2s, a number of studies have explored the neutralizing potential of the generic PLA2 inhibitors methyl-varespladib and varespladib.(Lewin et al., 2016) These compounds show great promise for the future development of affordable, stable and broad-spectrum treatment for PLA2-induced toxicities following snake envenoming. However, as svPLA2s are important venom toxins responsible for a diverse array of severe pathologies following envenoming, the development of analytics for rapid svPLA2 profiling after chromatographic separation of snake venoms – the approach described in this study - is an essential prerequisite for efficient selection and *in vitro* validation of novel PLA2 inhibiting agents.

Assays using chromogenic molecules for PLA2 profiling have previously been developed.(Petrovic et al., 2001; Sharko and Kisel, 2011) One of these assays relies on hydrolysis of a substrate by PLA2s into a coloured product, with ensuing absorbance measured at 425 nm, as described by Petrovic *et al*.(Petrovic et al., 2001) In addition, both radioactivity based assays (Aufenanger et al., 1993; Katsumata et al., 1986) and fluorogenic assays (Darrow et al., 2011; Mitnaul et al., 2007) have been described. All these assay formats, however, are probe substrate dependent and thus dependent on the selectivity and enzymatic activity of each PLA2 for the probe substrate used. Assays for assessment of generic enzymatic PLA2 activity use a phospholipid as a generic substrate, in combination with pH indicators to measure medium acidification upon phospholipid hydrolysis.(Camacho-Ruiz et al., 2015; Price, 2007; Sutto-Ortiz et al., 2017) This enzymatic reaction involves PLA2s cleaving the sn-2 ester of phospholipids, generating a free fatty acid and a lyso-phosholipid. Price *et al*. and Lobo De Araújo *et al*. measured PLA2 activity of crude snake venoms using the pH indicators bromothymol blue (Price, 2007) and phenol red (de Araújo and Radvanyi, 1987), respectively. These assays were performed in cuvettes, using a spectrophotometer, or in 96-well format. The use of bromothymol blue in a PLA2 assay was considered for this study, but was abandoned since literature reports this pH indicator to be able to inhibit phospholipase subunits under certain conditions.(de Araújo and Radvanyi, 1987)

In this study, two assays for enzymatic PLA2 activity were developed in 384-well format. One assay makes use of cresol red with colorimetric readout whereas the other uses fluorescein with fluorescence readout. The assays were optimized and validated for application in a workflow comprising high-resolution chromatographic fractionation of snake venoms followed by enzymatic PLA2 bioassaying. For this, well plates with collected fractions were vacuum-centrifuged to dryness followed by robotic pipetting of bioassay reagents and plate reader based readout in order to assess PLA2 activities. The feasibility and usefulness of the approach for measuring generic svPLA2 activity profiles was demonstrated using medically relevant snake venoms from *Bothrops asper*, *Echis carinatus*, *Echis coloratus, Echis ocellatus*, *Oxyuranus scutellatus* and *Daboia russelii russelii*.

2. Materials and Methods

**2.1 Chemicals and biological reagents**

Water was purified with a Milli-Q Plus system (Millipore, Amsterdam, The Netherlands). DMSO was supplied by Riedel-de-Haën (Zwijndrecht, The Netherlands). Acetonitrile (ACN; ULC/MS grade) and formic acid (FA) were obtained from Biosolve (Valkenswaard, The Netherlands). All salts used for buffer preparation were of analytical grade and purchased from Merck (Kenilworth, USA), Fluka (Bucharest, Romania) or Sigma-Aldrich (Darmstadt, Germany). Micro-90® concentrated cleaning solution was supplied by Sigma-Aldrich. Lyophilised snake venoms (see Table 1) were provided by the Centre for Snakebite Research & Interventions (Liverpool School of Tropical Medicine, UK) and stored long-term at -80 °C. Stock solutions of crude venoms (5.0 mg/mL) were prepared in water prior to analysis and stored at -80 °C. A 1 mM Tris (pH 8) buffer solution for the bioassay was made in Milli-Q water and its pH was checked at room temperature. After preparation, the buffer was stored at 4 °C until use. Cresol red and fluorescein were from Sigma-Aldrich. The 5 mM cresol red stock solution was prepared in methanol and stored at -20 °C. The 1 mM fluorescein stock solution was prepared in DMSO and kept at -80 °C. Triton-X-100 was purchased from Thermo Scientific (Landsmeer, Netherlands) and a stock solution of 170 mM was prepared in milli-Q water and stored at -20 °C. Phosphatidylcholine from soy beans was purchased from Sigma-Aldrich of which a stock solution of 20 mg/mL was prepared in methanol and kept at -20 °C. Varespladib was dissolved in DMSO (≥ 99.9%, Sigma-Aldrich, Zwijndrecht, The Netherlands) and stored at −20 °C.

Table 1. List of analyzed snake venoms and their abbreviations as used in this study.

|  |  |  |
| --- | --- | --- |
| Snake venom | Origin | Abbreviation |
| *Bothrops asper* | Costa Rica | BA |
| *Echis carinatus* | India\* | EC |
| *Echis coloratus* | Egypt | ECO |
| *Echis ocellatus* | Nigeria | EO |
| *Oxyuranus scutellatus* | Australia | OS |
| *Daboia russelii russelii* | Sri Lanka | DRR |

*\** Note that the Indian *E. carinatus* venom was collected from a single specimen that was inadvertently imported to the UK via a boat shipment of stone, and then rehoused at LSTM on the request of the UK RSPCA.

**2.2 PLA2 assay using cresol red as pH indicator**

Pre-prepared 1.0 mM TRIS buffer solution was used at room temperature and pH 8.0. The assay was performed with all other reagents at room temperature, which is crucial due to the pH dependence of the assay. For best performance the assay reagent mix was freshly prepared in a 50 mL PP Centrifuge tube (Corning Life Sciences B.V., Amsterdam, The Netherlands). The mix contained NaCl (75 mM), KCl (75 mM), CaCl2 (7.5 mM), Cresol Red (0.037 mM), Triton-X-100 (0.66 mM) and phosphatidylcholine (0.66 mM) in 1.0 mM Tris (pH 8.0). The salts were added as dry compounds (after accurate weighing), whereas for the other constituents, accurate volumes of the stock-solutions (Section 2.1) were used. Triton-X-100 is needed to increase the solubility of the substrate, improving the interaction between PLA2 and phosphatidylcholine. Direct addition of Triton-X-100 resulted in homogeneity problems and unsatisfactory assay performances. Therefore, the use of a pre-prepared stock solution of Triton-X-100 (170 mM) was used. The phosphatidylcholine solution was added last, as it slowly degrades upon contact with water. Prior to addition of phosphatidylcholine, the pH of the total solution was always checked and, if needed, adjusted to pH 8.0. The buffer capacity of the assay solution was low in order to allow measurement of a pH drop as result of PLA2 activity. The assay was initiated by robotically pipetting 40 µL of the final assay reagent mix into each plate well containing either vacuum centrifuge-dried snake venom fractions or 10 µL of test solution, such as Varespladib (diluted in assay mixture to the required concentrations) used for assay development. In the latter case, concentrations of the assay mix constituents were adjusted to match the final assay concentrations stated above. The plate was placed in the plate reader within 5 min after pipetting, and the plate reader was thermostated at 25 ˚C. The absorbance of each well content was measured at 572 nm with a Thermo Fisher Scientific Laboratory Varioskan™ LUX Multimode Microplate Reader using SkanIt 4.1 (Landsmeer, Netherlands). Measurements were performed in one kinetic loop with a total measurement time of 40 min. Two data-processing options in the SkanIt 4.1 software were used to determine PLA2 activity from the measured kinetic curves: (1) slope of a reading range (for well plates holding venom fractions), and (2) average rate in time per well (during assay development). For the latter, one measurement data point was plotted every 10 min over the total measuring curve. For constructing bioassay chromatograms of snake venoms, for each well the value resulting from the processed assay data was plotted against the LC elution time corresponding to the well.

**2.3 PLA2 assay using fluorescein as pH indicator**

In this PLA2 activity assay fluorescein is used as a fluorescent pH indicator in black 384-well, F-shape microplates (Greiner Bio One, Alphen aan den Rijn, the Netherlands). A decrease in assay pH causes a decrease of fluorescence intensity. Concentrations and preparation of the assay reagents and mix were the same as for the colorimetric assay (Section 2.2), but no Cresol Red was added. Instead, fluorescein was present at a final concentration of 1 µM. The assay was started by using the same procedure as stated in Section 2.2. The plate reader temperature was set at 25 ˚C and of each well fluorescence was measured using an excitation wavelength of 488 nm and an emission wavelength of 520 nm in the Varioskan™ LUX Multimode Microplate Reader. Measurements were performed in one kinetic loop with a total measurement time of 40 min. The bioassay data were presented as bioassay chromatograms when used for snake venom screening.

The cleaning procedure of the robotic pipetting machine is as reported previously in Still et al.(Still et al., 2017) For typical kinetic curve results obtained when running both PLA2 assay formats with venoms high in PLA2 abundance, the reader is referred to supporting information S1. The difference in curve slopes allows for the reconstruction of bioactivity chromatograms (more details in Section 3.3).

**2.4. Instrumental setup for venom fractionation**

For high-resolution fractionation of snake venoms, the analytical system previously described by Still *et al*.(Still et al., 2017) and by Mladic *et al*.(Mladic et al., 2016) was used. Samples were injected with a Shimadzu SIL-30AC auto sampler and LC separation was performed with a Shimadzu LC system controlled by Lab Solutions software. Gradient LC was performed using two Shimadzu LC-30AD pumps (A and B) operated at a total flow rate of 0.5 mL/min. Mobile phase A was water–ACN–FA (98:2:0.1, v/v/v) and mobile phase B was water–ACN–FA (2:98:0.1, v/v/v). The gradient was as follows: 0% to 50% B (20 min), 50% to 90% B (4 min), 90% B (5 min), 90% to 0% B (1 min), 0% B (10 min). A 150 × 4.6 mm ID analytical column packed with XbridgeTM BEH300 reversed-phase C18 material (5 µm) was used for separations and was maintained at 37 °C in a Shimadzu CTD-30A column oven. The column effluent was split in a 1:9 ratio using a low-dead-volume flow splitter. The flow of 0.05 mL/min was either directed to waste or led to a high-resolution time-of-flight (TOF) mass spectrometer for compound identification. During assay and method development, no MS data was acquired. The flow of 0.45 mL/min was led to a either a Gilson 235 robot programmed as fractionation device or a FractioMateTM fractionator (SPARK-Holland & VU, Netherlands, Emmen & Amsterdam) each providing fractions (6 s/well) onto clear or black 384-well plates. Fractionation was controlled by employing in-house written Ariadne software or FractioMator software (Spark-Holland & VU), respectively. The plates with fractions were vacuum centrifuged to dryness at room temperature using a Christ Rotational Vacuum Concentrator RVC 2-33 CD plus (Salm en Kipp, Breukelen, the Netherlands) with a cooling trap at −80 °C, and then stored at −80 °C.

1. Results and Discussion

This research focused on the development and optimization of enzymatic PLA2 activity assays suitable for application in the nanofractionation platform to allow profiling of venom fractions. For this, these assays should be sensitive, rapid, robust, and applicable to small LC fractions (collected in 384-well plate format). PLA2 catalyzes the hydrolysis of ester bonds of glycerophospholipids at position sn-2. PLA2 activity assaying can be based on the accompanying acidification of the reaction mixture caused by the formed free fatty acids during phosphatidylcholine hydrolysis. In presence of pH indicators, activity will cause measurable color changes. The use of bromothymol blue in the required miniaturized assay was considered for use in this study, however, (i) the literature reports this pH indicator to inhibit phospholipase subunits, (Price, 2007) while pilot experiments using bromothymol blue for assaying venoms showed highly varying and non-repeatable results. Specifically, our pilot results appeared unrelated to PLA2 hydrolysis of phosphatidylcholine, and therefore bromothymol blue was not considered to be suitable for our purposes. Instead, we developed two assays suitable for 384-well format using phosphatidylcholine as a substrate, with either cresol red (CR) as a color pH indicator or fluorescein as a fluorescent pH indicator.

**3.1 PLA2 activity assay based on cresol red**

***3.1.1 Assay optimization***

Going from pH 8.8 to 7.0, protonation of the pH indicator cresol red results in a color change from red to yellow. When cresol red is added to the assay reagent mixture, PLA2 activity can be detected as a decrease in absorbance at 572 nm.(de Araújo and Radvanyi, 1987; Sutto-Ortiz et al., 2017) The pH of the assay solution was first adjusted to 8.0 in order to allow sensitive detection of the pH shift. Optimal conditions were studied and achieved in several optimization steps, as described below. More detailed information and results on the development of the cresol red-based PLA2 activity assay are provided in the supporting information S2 and S3.

The optimal concentrations for cresol red and the substrate phosphatidylcholine were studied by performing serial dilution experiments. *Daboia russelii russelii* (DRR) snake venom, which is known for its relatively high content of svPLA2, was used as a test venom for assay optimization at a concentration of 12.5 µg/mL.(Haney et al., 2019) Figure 1 shows time-course absorbance measurements in a cuvette using optimized assay conditions and DRR venom. The color change of cresol red over time is observed as an increasing absorbance at 430 nm and a decreasing absorbance at 570 nm. As the absolute change is most substantial at 570 nm, this wavelength was used for the readout of the cresol red-based PLA2 assay. Higher concentrations of cresol red resulted in more intense red coloring of the assay mixture, detected as a higher absorbance at 572 nm at the start of the measurement (Figure S2). The optimal cresol red concentration was found to be 37 µM. Increasing the concentration of phosphatidylcholine resulted in an increased acidification of the assay mixture upon assay progression when svPLA2s were present. The optimal substrate concentration was determined to be 0.66 mM. Concentrations of 0.66 mM and 37 µM for phosphatidylcholine and cresol red, respectively, were used in all subsequent experiments.



Figure 1: Absorbance spectra obtained during progression of the cresol red-based PLA2 activity assay. Conditions: phosphatidylcholine concentration, 0.66 mM; cresol red concentration, 37 µM; DRR venom concentration, 12.2 µg/mL.

***3.1.2 Assay evaluation***

The optimized assay was evaluated for sensitivity and limit of detection (LOD) by analyzing different concentrations of DRR snake venom.

The concentration-response plot for svPLA2 activity was assessed by analyzing serial dilutions of DRR venom in water (freeze-dried after addition to the wells) with final assay concentrations of 50, 25, 12.5, 6.3 and 3.2 μg/mL (Figure 2).



Figure 2. Kinetic absorbance measurements obtained of the cresol red based PLA2 assay. Concentrations of phosphatidylcholine and cresol red were 0.66 mM and 37 μM, respectively. Assay was performed in presence of a DRR concentration series with final assay concentrations of 50 μg/mL, 25 μg/mL, 12.5 μg/mL, 6.3 μg/mL and 3.2 μg/mL (visualized from bottom to top). The absorbance was set at 570 nm. Each curve represents the mean of two measurements and the error bars represent SEMs

The starting steepness of the declining curve is correlated to the DRR venom concentration and thus the overall activity of svPLA2s present in the assay mixture. Note that the starting point of the kinetic measurement is the moment the plate reader measurement is initiated and thus does not represent the real starting point, which is the moment the assay mix is pipetted to the venom. As can be seen, increasing DRR concentrations resulted in faster declines in absorbance over time (Figure 2). Also, the higher the concentration of DRR the lower the absorbance of the first measured point due to the initial faster enzymatic conversion rates. Therefore, after pipetting the assay mix to a well plate, the assay readout was started directly.

The assay specificity, i.e. determining whether the assay reflects the action of PLA2s as the cause of the detected acidification, was performed by analyzing DRR venom in presence of the PLA2 inhibitor varespladib. A recent study by Lewin *et al*. demonstrated methyl-varespladib and varespladib to reduce venom PLA2-induced *in vivo* pathologies.(Lewin et al., 2016) These compounds were shown to be potent inhibitors for a multitude of svPLA2s*in vitro.* An IC50 value of 0.96 µM ± 0.04 µM was determined for varespladib.(Lewin et al., 2016) As varespladib is a broad-range (non-specific) PLA2 inhibitor, it was anticipated to be able to inhibit the majority of svPLA2s present in a venom and as such concentration-dependently reduce the hydrolysis rate of phosphatidylcholine in the assay. The effect of the concentration of varespladib on the activity of DRR (final assay concentration, 12.5 µg/mL) was determined using serial dilutions of varespladib in Tris buffer (1 mM; pH 8; 10 µl/well) with final concentrations of 20, 2, 0.002, and 0 μM (Figure 3).



Figure 3: Kinetic absorbance measurements obtained for assessing the inhibitory effect of the PLA2 inhibitor varespladib on the cresol red based PLA2 assay. Concentrations of phosphatidylcholine, cresol red, and DRR were 0.66 mM and 37 μM, and 12.5 μg/mL, respectively. Assay was performed in presence of varespladib with final concentrations of 20, 2, 0.002, and 0 μM. The absorbance was set at 570 nm. Each curve represents the mean of three measurements and the error bars represent SEMs.

When increasing concentrations of varespladib were added to the assay mixture, a concentration-dependent decrease in PLA2 activity was observed visible as a decrease in steepness of the curves. Even though the PLA2 activity was not fully inhibited within this concentration series, these results clearly show that the enzymatic acidification of the bioassay mixture was dose-dependently affected and almost full inhibition was reached at the highest concentration varespladib tested. In the blank measurement, a slight decrease in absorbance was observed due to non-enzymatic (chemical) hydrolysis of phosphatidylcholine.

**3.2 PLA2 assay based on fluorescein**

***3.2.1 Assay development***

The fluorescence quantum yield of fluorescein is pH dependent, being highest at around pH 8. Its fluorescence decreases in the presence of lowered pH, which is the detection principle of the fluorescence assay format. Below pH 6 the emission starts to get weak, and becomes undetectable at very acidic conditions.(Doughty, 2010; Martin and Lindqvist, 1975) For this assay a Tris buffer of pH 8 was chosen (as for cresol red) and the decrease of fluorescence intensity of fluorescein was monitored as result of PLA2 activity causing a drop in pH.(Doughty, 2010; Martin and Lindqvist, 1975) Additional information and results on the optimization of the fluorescein-based PLA2 activity assay is provided in Section S4 of the supporting information. Different fluorescein concentrations were tested (final concentrations: 0.2, 0.5, 1.0, and 5.0 µM). The same phosphatidylcholine concentration as for the cresol red-based assay was used assuming the substrate concentration to be independent of the pH indicator used. Increasing the fluorescein concentration yielded more intense fluorescence signals at the start of a measurement (see Figure S4 in the supporting information). The optimal fluorescein concentration was determined to be 1 µM, providing optimal signal-to-noise ratios while achieving acceptable assay repeatability. Concentrations of 1 µM fluorescein and 0.66 mM phosphatidylcholine were used for all subsequent experiments.

***3.2.2 Fluorescein PLA2 assay evaluation***

The optimized fluorescein-based assay was further evaluated for sensitivity and LOD. DRR concentrations of 12.2, 6.1, 3.0, 1.6, 0.8, and 0 µg/mL in Tris buffer (1 mM; pH 8; 10 µl/well) were analyzed (Figure 4). The specificity was again tested by performing the activity assay with DRR in presence of different concentrations of varespladib.



Figure 4: Kinetic fluorescence measurements obtained for the fluorescein based PLA2 assay. Concentrations of phosphatidylcholine and fluorescein were 0.66 mM and 1 μM, respectively. DRR concentrations tested: 12.2, 6.1, 3.2, 1.6, and 0.8 μg/mL. Fluorescence was measured using an excitation wavelength of 488 nm and an emission wavelength of 520 nm. Each curve represents the mean of three measurements and the error bars represent SEMs.

The DRR serial dilutions were added to different wells and then vacuum centrifuge dried prior to assay pipetting to avoid undesired dilution effects. As with the previous assay, the starting point of the kinetic measurement is the moment the plate reader measurement is initiated and as such thus not the real starting point, which is the moment the assay mix is pipetted to the venom. Therefore, after pipetting the assay mix to a well plate, the assay readout was started as soon as possible. Increased DRR concentrations resulted in increased progression of the svPLA2s enzymatic activity visible as declined fluorescent intensities observed at the first measurement point of the curves.The last measurement point for the two highest DRR concentrations tested (12.2 µg/mL and 6.1 µg/mL) almost overlapped, indicating a smaller assay window for the fluorescein-based assay as compared to the cresol red assay when performing an end-point measurement. In the latter, a concentration of 50 µg/mL compares to the increase in assay progression of the svPLA2 enzymatic activity seen for 12.2 µg/mL in the fluorescein assay. The results thus also show that the fluorescein assay was more sensitive than the cresol red assay for DRR venom. With this assay, clear hydrolysis was already observed within 10 minutes at a DRR concentration of 1.6 μg/mL. In the fluorescein assay, a concentration of 0.8 μg/mL DRR still gave a measurable effect after 40 minutes.

The fluorescein-based assay was then evaluated for specificity for PLA2 activity by measuring a concentration series of the PLA2 inhibitor varespladib. The effect of the concentration of varespladib on the activity of DRR was determined for two final concentrations of DRR snake venom (12.2 and 1.6 µg/mL; Figure 5 & 6 respectively). The reason we tested an additional snake venom concentration of 1.6 µg/mL in this experiment was because of the relatively rapid hydrolysis rate upon assay initiation when testing 12.2 µg/mL. Hence we wanted to test and show the effect of using a lower snake venom concentration on assay performance and on the ability of varespladib to neutralize snake venom PLA2s. Serial dilutions of varespladib in Tris buffer (1 mM; pH 8; 10 µl/well) with final concentrations of 50, 5.0, 0.5, 0.05, and 0 μM were tested (Figures 5 and 6). Varespladib was found to inhibit the PLA2 activity in a concentration-dependent manner, with full inhibition observed at a concentration of 5 µM for the 1.6 µg/mL DRR experiment and 50 µM for the 12.2 µg/mL DRR experiment. As also observed with the cresol red assay, the fluorescein-based assay thus shows specificity towards enzymatic PLA2 activity.

To summarize the two approaches compared here, the PLA2 assay using cresol red facilitates measuring a wider range of PLA2 concentrations in comparison with the fluorescein-based assay. However, the latter assay is more sensitive.



Figure 5: Kinetic fluorescence measurements obtained for assessing the inhibitory effect of the PLA2 inhibitor varespladib on the fluorescein based PLA2 assay. Concentrations of phosphatidylcholine, fluorescein, and DRR were 0.66 mM and 1 μM, and 12.2 μg/mL, respectively. The assay was performed in presence of varespladib with final concentrations of 50, 5.0, 0.5, 0.05, and 0 μM. Fluorescence was measured using an excitation wavelength of 488 nm and an emission wavelength of 520 nm. Each curve represents the mean of two measurements and the error bars represent SEMs.



Figure 6: Kinetic fluorescence measurements obtained for assessing the inhibitory effect of the PLA2 inhibitor varespladib on the fluorescein based PLA2 assay. Concentrations of phosphatidylcholine, fluorescein, and DRR were 0.66 mM and 1 μM, and 1.6 μg/mL, respectively. The assay was performed in presence of varespladib with final concentrations of 50, 5.0, 0.5, 0.05, and 0 μM. Fluorescence was measured using an excitation wavelength of 488 nm and an emission wavelength of 520 nm. Each curve represents the mean of two measurements and the error bars represent SEMs.

**3.3 Coupling of the two PLA2 assay formats with nanofractionation analytics**

Finally, the two developed assays were incorporated into the nanofractionation analytics platform. This allowed for obtaining enzymatically bioactive PLA2 profiles of snake venoms after chromatographic separation.

svPLA2s are derived from members of the serine PLA2 (sPLA2) family, which are found in mammals and other vertebrates. It is said that the genes expressing svPLA2s have undergone gene duplication and accelerated evolution over evolutionary time, which has resulted in structural, functional, and expressional level variations of svPLA2s isoforms.(Calvete, 2016, 2019) As such, many snake venoms are known to contain a number of different svPLA2 isoforms. The presence of these isoforms, and their abundances, can thus vary greatly according to species, but also according to, for example, population, age and sex of a snake, and (prey) ecology.(Gibbs and Rossiter, 2008; TSAI et al., 2004; Tsai et al., 2007) The generic svPLA2 tertiary structure, contains seven disulfide bridges. This means that for an enzyme, svPLA2s are considered to be rather stable and are therefore relatively resistant to heat, organic solvents, and acidic conditions.(Lewin et al., 2016) These properties, their high abundance in many snake venoms, and their relatively low molecular weight (~13 to 15 kDa) is advantageous for their intact isolation/fractionation using reversed phase liquid chromatography (RPLC) thereby allowing subsequent characterization and bioactivity profiling.(Gasanov, 2014; Gutiérrez and Lomonte, 2013)

The nanofractionation analytics platform connects chromatographic separations of venoms with UV data collection, optionally mass spectrometry, and high-resolution fractionation on well plates followed by bioassaying. This platform for screening snake venoms has been described earlier by others, including for example Mladic et al.(Mladic et al., 2016) and Still et al.(Still et al., 2017) for other assay formats. In this study, snake venoms were separated using RP-LC with a post column split directing 90% of the effluent to a high-resolution fraction collector (e.g. the FractioMate) and 10% to UV and optionally MS. After fraction collection in 384-well plates, the plates were vacuum centrifuged to remove solvents after which one of the two PLA2 bioassays was performed. After bioassaying, reconstructed bioassay chromatograms were plotted which could then be correlated to UV and MS traces in an effort to identify the enzymatically active svPLA2s. As one of the important aspects of this analytical platform is the ability to perform offline assays, the venom toxins have to survive the analytical separation without denaturation. In addition, compatibility with sensitive MS, gives limited options with regards to eluent substituents. Making use of formic acid (FA), meant that many venom toxin enzymes remain intact and retain their activity during separation. However, concessions are thus made in separation resolution and peak capacity, as closely eluting venom toxins are not fully separated from each other during LC-separation in the elution time-frame currently used. Bioactive peaks in the bioactivity chromatograms were found often closely eluting or overlapping. This implies that it is difficult to determine the individual contribution to an observed bioactivity of multiple closely eluting toxins. Currently, work is ongoing on investigating different MS compatible separations and eluent compositions to improve resolution and peak capacity of eluting venom toxins in their native state while retaining ESI-MS compatibility and sensitivity. This research is ongoing and beyond the scope of this study.

Venom of six snake species were screened for svPLA2 activity using the cresol red PLA2 assay and venoms of one snake was screened using the fluorescein-based PLA2 assay. The results obtained for the cresol red based assay are shown in Figure 7. Each experiment was performed in duplicate and both the LC-UV spectral data as well as the chromatographic bioactivity profiles (representing the mean of three measurements) are provided. The bioassay chromatograms were constructed by plotting the calculated slopes of each measured svPLA2 activity curve of each well against fractionation time. As 6-sec fractions were collected, high resolution reconstructed bioassay chromatograms were obtained. svPLA2 activity is detected as an increase in the slopes of the kinetic measurements and is svPLA2 concentration-dependent (e.g. as shown in Figure 3). The enzymatic activities of eluted svPLA2s are therefore visible in the reconstructed bioassay chromatograms as positive peaks. Each venom analyzed was found to have its own characteristic fingerprint or signature-like LC-UV chromatogram with corresponding bioactivity chromatogram profile. The depicted 220 nm UV-VIS traces give the most sensitive results of all recorded UV traces. However, despite being the most sensitive, one drawback using this wavelength is the baseline drift visible upon chromatographic gradient progression, due to UV absorbance of organic modifier impurities. The most important function of the given LC-UV-traces is alignment between bioassay chromatograms, post separation MS analysis, and the possibility to match our chromatography results of those obtained in other labs. The results displayed in Figure 7 show that the enzymatically active peaks for all venoms analyzed eluted in the 15 to 25-minute time frame. Later eluting (non-enzymatically-active) peaks may, although not likely for the relatively stable svPLA2s, be denatured svPLA2s (due to the high organic solvent (i.e. acetonitrile) concentration during elution). As can be seen from the chromatographic PLA2 activity data, all the snake venoms analyzed show positive svPLA2 activity peaks, which indicates that all venoms profiled contain at least one, but in most cases multiple, svPLA2s.



*Bothrops asper*

*Daboia russelii russelii*

*Echis coloratus*

*Echis ocellatus*

*Oxyuranus scutellatus*

*Echis carinatus*

220 nm

220 nm

220 nm

220 nm

220 nm

220 nm

**7A**

**7B**

**7D**

**7C**

**7F**

**7E**

Figure 7: UV-chromatograms measured at three different wavelengths (lower three superimposed chromatograms per figure) and corresponding cresol red assay-PLA2 reconstructed bioassay chromatograms (upper superimposed chromatograms per figure) obtained from RP-LC separated snake venoms. Snake venoms measured: (a) *Bothrops asper;* (b) *Daboia russelii russelii; (c) Echis coloratus; (d) Echis ocellatus; (e) Oxyuranus scutellatus; (f) Echis carinatus*. Experimental conditions: Snake venom concentrations injected were 1 mg/mL with an injection volume of 50 µL. A UV-DAD detector measured the spectrum between 200 and 300 nm of which 220 nm (blue) is plotted in the figures. For correlating bioactivity peaks to tentative toxin identification, the reader is referred to section 3.4 (only for the venoms of *Bothrops asper, Daboia russelii russelii*, and *Echis ocellatus* this tentative toxin identification was performed). Green dotted lines indicate tentatively identified svPLA2s.

With the fluorescein-based PLA2 assay, *Bothrops asper* was profiled (Figure 8). For the fluorescein-based assay it was observed that larger assay windows in combination with lower fluctuation in the baselines were obtained as compared to the cresol red based assay, visualized as positive bioactivity peaks in the fluorescence bioassay chromatograms. For *Bothrops asper* venom, several svPLA2 bioactivities are clearly observed and, when compared to the results obtained from the cresol red assay, additional bioactivities were visualized due to the higher sensitivity of the fluorescein-based assay. After the first set of closely co-eluting svPLA2s observed in both assays (between ~17 to 19 minutes), these additional svPLA2 activities are observed after the first broad peak and eluted as one sharp peak followed by two non-baseline separated bioactivity peaks.



*Bothrops asper*

220 nm

Figure 8: UV-chromatograms measured at three different wavelengths (lower three superimposed chromatograms per figure) and corresponding fluorescein assay-PLA2 reconstructed bioassay chromatograms (upper superimposed chromatograms per figure) obtained from RP-LC separated snake venoms. Snake venom measured: *Bothrops asper;* Experimental conditions: Snake venom concentrations injected were 1 mg/mL with an injection volume of 50 µL. A UV-DAD detector measured the spectrum between 200 and 300 nm of which 220 nm (blue) is plotted in the figure. For correlating bioactivity peaks to tentative toxin identification, the reader is referred to section 3.4. Green dotted lines indicate tentatively identified svPLA2s.

It has to be noted that for both assays, not all positive peaks observed need to correspond with svPLA2 activities. Although not expected, other toxins in venoms could have enzymatic activities directly or indirectly resulting in acidification or basification of the assay medium. As the assay mixture’s color change is dependent on the pH indicator and therefore the pH of the mixture, compounds with acidic and/or basic functional groups present in high concentrations could potentially chemically modulate the assay pH and as such result in negative or positive peaks. Although in general this is not likely to occur, this might be the outcome of the negative peak observed in the bioactivity chromatogram of *Echis coloratus* (Figure 7C).This negative activity might have resulted from a compound having a basifying effect on the assay mixture’s pH. In this specific case it is not expected to have resulted from an activity linked to enzymatic PLA2 activity. With the used concentrations of the detergent triton-X-100 and the substrate phosphatidylcholine in our assay, we assume to be working in the intermediate stage of phospholipid solubilization and thus assume that our phospholipid substrate is present in both detergent-saturated form and as mixed micelles (fully solubilized). (De la Maza and Parra, 1994; Kragh-Hansen et al., 1998) It is known that svPLA2s can display a change in activity (mostly an increase) when enzymatically converting higher-ordered lipid aggregate substrates. Some svPLA2s may show low activity for the phospholipid substrate used in this study.(Cho et al., 1988)

**3.4 Correlation of enzymatically active peaks with MS and proteomics data for toxin identification**

From literature and the database Uniprot (https://www.uniprot.org/)(“https://www.uniprot.org/,” n.d.) it was found that all snake venoms profiled in this study have multiple known svPLA2s. Table 2 displays a summarized list of the number of svPLA2s found in the literature and from the Uniprot database. The table also lists the number of PLA2-linked enzymatic activities found for both assays developed and applied in this study after nanofractionation of the profiled venoms. From the overview it is evident that for most snake venoms analyzed, more individual svPLA2 isoforms are reported in the literature and Uniprot, when compared to the number of individual positive peaks found per venom in this study. The reason for this is likely as follows: firstly, snake venoms of the same species, but from different geographical origins, often have different venom compositions implying that not all svPLA2s necessarily will be expressed at significant levels in each venom. Secondly, the chromatographic overlap of svPLA2 isoforms resulting from chromatographic co-elution of (especially structurally similar) svPLA2s results in overlapping bioactivity peaks for which multiple svPLA2 isoforms can be assigned to. This was also clearly shown in other studies by Still et al.(Still et al., 2017) and Slagboom et al.(Slagboom et al., 2020) In addition, although highly unlikely due to their generic stability to the LC solvents used in this study, some svPLA2s in Uniprot could be present in a given venom but showed reduced catalytic activity or have lost their activity due to denaturation in our experiments. Furthermore, some sub-classes of svPLA2s have lost their enzymatic activity (among which are neurotoxic svPLA2s and lysine/serine 49 svPLA2s) and/or only have minor enzymatic activity as compared to their other biological functions which can include specific target-binding, chaperoning, and/or membrane-disrupting functions.(Gopalakrishnakone and Calvete, 2016)

Accurate mass measurements and proteomics data of the toxins present in several snake venoms included in this study were recently reported by Slagboom *et al.*(Slagboom et al., 2020) They used the same LC-nanofractionation platform in combination with parallel acquired MS data and profiled coagulopathic activity followed by proteomic characterization of the active coagulopathic compounds. The following three snake venoms analyzed by Slagboom *et al* were also investigated in this study: *Bothrops asper*, *Echis ocellatus*, and *Daboia russelii russelii*. The MS and proteomics data of Slagboom *et al.* was used here for correlation of svPLA2 activity to hypothetical toxin identification in order to determine platform applicability for svPLA2 profiling of snake venoms towards identification of the bioactives. Slagboom *et al.* profiled and tentatively identified venom toxins that exhibited coagulopathic activity and thus might not match svPLA2 activities measured this study. Several positive signals in our svPLA2 assays could, however, be correlated to identified svPLA2s by Slagboom *et al.,* as they fell within the same retention timeframes (note that the same chromatographic conditions were used in both studies). In *Bothrops asper*, Slagboom *et al.* found four svPLA2s with *m/z*-values of 1378.369710+,1373.368810+, 1267.790611+, and 1164.888112+. Combining the fluorescein and cresol red PLA2 assay data of *Bothrops asper* measured this study after nanofractionation resulted in correlation of most activities with the MS and proteomics data from Slagboom *et al*. The first two eluting svPLA2s with *m/z*-values of 1378.369710+ and 1373.368810+ co-eluted in the chromatogram and therefore could not be differentiated. Two additional activities were detected in the fluorescent PLA2 assay, which were not measured by Slagboom *et al (*who only did MS and proteomics analysis on coagulopathic venom toxins). Two masses within the svPLA2 mass range were identified by Slagboom *et al* for *Daboia russelii* *russelii* venom and one for *Echis ocellatus* venom. For both venoms, the identified *m/z*-values could be correlated to the svPLA2 bioactivity peaks falling within the same retention timeframe and were 1511.69629+ and 1518.59469+ for *Daboia russelii russelii* venom, and 1537.04899+ for *Echis ocellatus* venom. In Figure 7 and Figure 8, the tentatively identified svPLA2s correlating to bioactivity peaks are indicated with green marker arrows pointing to their respective bioactivity peaks for *Bothrops asper*, *Echis ocellatus*, and *Daboia russelii* *russelii* venoms.

Table 2: Overview of numbers of svPLA2 isoforms identified by different research groups and placed in the Uniprot database, numbers of svPLA2 isoforms identified by Slagboom *et al*, and detected number of enzymatically actives in the developed cresol red and/or fluorescein-based PLA*2* assays described in this study. n.d. means no data available.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Snake species | Uniprot database svPLA2 isoforms | Masses of svPLA2s identified by Slagboom *et al* | svPLA2 bioactivities found in cresol red PLA2 assay | svPLA2 bioactivities found in fluorescein PLA2 assay |
| *Bothrops asper* | 6  *11. P24605 (PA2H2\_BOTAS) L 137, M: 15,509 Da*  *2. P20474 (PA2B3\_BOTAS) L: 138, M: 15,751 Da*  *3. P86389 (PA2A2\_BOTAS) L: 124, M: 14,194 Da*  *4. P0C616 (PA2HA\_BOTAS) L: 137, M: 15.688 Da*  *5. Q9PVE3 (PA2H3\_BOTAS) L: 138, M: 15,559 Da*  *6. Q9PRT7 (PA2H4\_BOTAS) L: 23, M: 2,512 Da (Fragment)* | 4 | 2 | 6 |
| *Daboia russelii russelii* | 20  *1. P59071 (PA2B8\_DABRR) L: 121, M: 13,611 Da*  *2. A8CG86 (PA2A1\_DABRR) L: 138, M: 15,3289 Da*  *3. P84674 (PA2B5\_DABRR) L: 121, M: 13,587 Da*  *4. P81458 (PA2B\_DABRR) L: 121, M: 13,626 Da*  *5. A8CG89 (PA2B1\_DABRR) L: 138, M: 15,864 Da*  *6. A8CG90 (PA2B2\_DABRR) L: 137, M: 15,461 Da*  *7. C0HK16 (PA2BD\_DABRR) L: 121, M: 13,612 Da*  *8.* *P0DKX1 (PA2N\_DABRR) L: 19, M : 2,194 Da (Fragment)*  *9. A8CG87 (PA2A2\_DABRR) L: 138, M : 15,586 Da*  *10. P86368 (PA2B3\_DABRR) L: 121, M: 13,687 Da*  *11. P86529 (PA21\_DABRR) L: 17, M: 1,955 Da*  *12. Q2ES53 (Q2ES53\_DABRR) L: 138, M : 15,865 Da*  *13. Q2ES52 (Q2ES52\_DABRR) L : 122, M : 13,441 Da*  *14. Q2ES51 (Q2ES51\_DABRR) L : 137, M : 15,123 Da*  *15. A0A223PK47 (A0A223PK47\_DABRR) L : 704, M : 79,785 Da (Fragment)*  *16. B3RFI6 (B3RFI6\_DABRR) L: 138, M: 15,421 Da*  *17. B3RFI8 (B3RFI8\_DABRR) L: 137, M: 15,353 Da*  *18. B3RFI7 (B3RFI7\_DABRR) L: 138, M: 15,652 Da*  *19. A0A223PK58 (A0A223PK58\_DABRR) L : 792, M : 87,179 Da (Fragment)*  *20. A0A223PK40 (A0A223PK40\_DABRR) L : 1,396, M : 160,882 Da (Fragment)* | 2 | n > 3 | n.d. |
| *Echis coloratus* | 11  *1. P0DMT3 (PA2HS\_ECHCO) L: 121, M: 13,706 Da*  *2. Q910A0 (PA23\_ECHCO) L: 138, M: 15,638 Da*  *3. B5U6Y4 (PA2HS\_ECHCO) L: 138, M: 15,634 Da*  *4. Q90ZZ9 (PA21\_ECHCO) L: 138, M: 15.770 Da*  *5. A0A0A1WC82 (A0A0A1WC82\_ECHCO) L: 137, M: 15,595 Da*  *6. A0A081DUB1 (A0A081DUB1\_ECHCO) L: 151, M:16,855 Da*  *7. A0A0A1WCG3 (A0A0A1WCG3\_ECHCO) L: 138, M: 15,674 Da*  *8. A0A0A1WDQ3 (A0A0A1WDQ3\_ECHCO) L: 155, M: 16,954 Da (Fragment)*  *9.* *A0A0A1WDL6 (A0A0A1WDL6\_ECHCO) L: 148, M: 16,636 Da (Fragment)*  *10.* *A0A0A1WC86 (A0A0A1WC86\_ECHCO) L: 120, M: 13,353 Da (Fragment)*  *11. A0A0A1WCW3 (A0A0A1WCW3\_ECHCO) L: 79, M: 9,265 Da (Fragment)* | n.d. | 2-3 | n.d. |
| *Echis ocellatus* | *2*  *1. B5U6Y4 (PA2HS\_ECHOC)L: 138, M: 15,634 Da*  *2. P59171 (PA2A5\_ECHOC) L: 138, M: 15,705 Da* | 2 | 1 | n.d. |
| *Oxyuranus scutellatus* | 12  *1. P00614 (PA2TA\_OXYSC) L: 119, M: 13,829 Da*  *2. Q45Z47 (PA22\_OXYSC) L: 146, M: 16,104 Da*  *3. P00615 (PA2TB\_OXYSC) L: 145, M: 16,008 Da*  *4. P00616 (PA2TG\_OXYSC) L: 152, M 16,558 Da*  *5. P0CG57 (PA2TC\_OXYSC) L: 118, M: 13,313 Da*  *6. Q4VRI5 (PA21\_OXYSC) L: 154, M 16,898 Da*  *7. Q7LZG2 (PA2T\_OXYSC) L: 27, M 2,901 Da (Fragment)*  *8. P0DKT7 (PA2CA\_OXYSA) L: 20, M: 2,382 Da (Fragment)*  *9. P0DKT9 (PA2CC\_OXYSA) L: 40, M 4,473 Da (Fragment)*  *10. P0DKU0 (PA2CG\_OXYSA) L: 30, M: 3,388 Da (Fragment)*  *11. P0DKT8 (PA2CB\_OXYSA) L: 10, M 1,178 Da (Fragment)*  *12. Q7LZG4 (Q7LZG4\_OXYSC) L: 26, M 2,854 Da (Fragment)* | 0 | 2-5 | n.d. |
| *Echis carinatus* | 7  *1. Q7T3S7 (PA2A1\_ECHCA) L: 136, M: 15,523 Da*  *2. P48650 (PA2HS\_ECHCA) L: 122, M: 13,819 Da*  *3. P0DMT2 (PA2HS\_ECHCS) L: 122, M 13,865 Da*  *4. P59170 (PA2A4\_ECHCS) L: 139, M: 15,895 Da*  *5. P0DMT3 (PA2HS\_ECHCO) L: 121, M: 13,706 Da*  *6. A0A140YIG4 (A0A140YIG4\_ECHCA) L: 139, M: 15,896 Da*  *7. A0A140YIG3 (A0A140YIG3\_ECHCA) L: 137, M: 15,601 Da* | n.d. | 1 | n.d. |

4. Conclusion

The PLA2 assays developed herein were demonstrated to be sensitive and robust and were successfully coupled to nanofractionation analytics to analyze svPLA2 activity of separated venom toxins. The PLA2 assay using cresol red was found to have the largest assay window, i.e. being able to detect a larger variation in PLA2 concentrations, while the fluorescein-based assay proved to be the most sensitive assay, thereby making both assays complementary to one another. When using C18 RP-LC with nanofractionation analytics for svPLA2 profiling of snake venoms, reproducible specific fingerprint-like separation profiles were obtained of which bioactive svPLA2s showed positive bioactivity peaks in the reconstructed bioactivity chromatograms. As many svPLA2s have similar primary sequences, and thus much structural resemblance, overlap of different bioactive svPLA2s by co-elution was expected and was indeed observed in this study. Prior accurate mass and proteomics data of some of the venoms used in this study was repurposed here for svPLA2 identification, and to assess assay and analytical platform performance, resulting in bioactivity chromatograms with tentatively identified enzymatically active svPLA2s. We anticipate that our development of new analytics for rapidly profiling svPLA2 activity will have utility for future research on snakebite pathologies caused by svPLA2 toxins, and for the identification of novel inhibitory molecules capable of neutralizing svPLA2s for their future selection and translation into snakebite therapeutics.

5. Acknowledgements

This study was supported by: (i) a Sir Henry Dale Fellowship to N.R.C.736 (200517/Z/16/Z) jointly funded by the Wellcome Trust and Royal Society, and (ii) a China Scholarship Council (CSC) fellowship to C.X.

6. References

Ainsworth, S., Slagboom, J., Alomran, N., Pla, D., Alhamdi, Y., King, S.I., Bolton, F.M.S., Gutiérrez, J.M., Vonk, F.J., Toh, C.-H., Calvete, J.J., Kool, J., Harrison, R.A., Casewell, N.R., 2018. The paraspecific neutralisation of snake venom induced coagulopathy by antivenoms. Commun. Biol. 1, 34. https://doi.org/10.1038/s42003-018-0039-1

Albulescu, L.-O., Hale, M., Ainsworth, S., Alsolaiss, J., Crittenden, E., Calvete, J.J., Wilkinson, M.C., Harrison, R.A., Kool, J., Casewell, N.R., 2019. Preclinical validation of a repurposed metal chelator as a community-based therapeutic for hemotoxic snakebite. bioRxiv 717280. https://doi.org/10.1101/717280

Aufenanger, J., Zimmer, W., Kattermann, R., 1993. Characteristics and clinical application of a radiometric Escherichia coli-based phospholipase A2 assay modified for serum analysis. Clin. Chem. 39, 605–613.

Brglez, V., Lambeau, G., Petan, T., 2014. Secreted phospholipases A2 in cancer: Diverse mechanisms of action. Biochimie. https://doi.org/10.1016/j.biochi.2014.09.023

Calvete, J., 2016. Venom Genomics and Proteomics. https://doi.org/10.1007/978-94-007-6416-3

Calvete, J.J., 2019. Snake venomics at the crossroads between ecological and clinical toxinology. Biochem. (Lond). 41, 28–33. https://doi.org/10.1042/bio04106028

Camacho-Ruiz, M. de los A., Mateos-Díaz, J.C., Carrière, F., Rodriguez, J.A., 2015. A broad pH range indicator-based spectrophotometric assay for true lipases using tributyrin and tricaprylin. J. Lipid Res. 56, 1057–1067. https://doi.org/10.1194/jlr.D052837

Casewell, N.R., Wagstaff, S.C., Wus̈ter, W., Cook, D.A.N., Bolton, F.M.S., King, S.I., Pla, D., Sanz, L., Calvete, J.J., Harrison, R.A., 2014. Medically important differences in snake venom composition are dictated by distinct postgenomic mechanisms. Proc. Natl. Acad. Sci. U. S. A. 111, 9205–9210. https://doi.org/10.1073/pnas.1405484111

Cho, W., Tomasselli, A.G., Heinrikson, R.L., Kézdy, F.J., 1988. The chemical basis for interfacial activation of monomeric phospholipase A2. J. Biol. Chem. 263, 11237–11241.

Darrow, A.L., Olson, M.W., Xin, H., Burke, S.L., Smith, C., Schalk-Hihi, C., Williams, R., Bayoumy, S.S., Deckman, I.C., Todd, M.J., Damiano, B.P., Connelly, M.A., 2011. A novel fluorogenic substrate for the measurement of endothelial lipase activity. J. Lipid Res. 52, 374–382. https://doi.org/10.1194/jlr.d007971

de Araújo, A.L., Radvanyi, F., 1987. Determination of phospholipase A2 activity by a colorimetric assay using a pH indicator. Toxicon 25, 1181–1188. https://doi.org/10.1016/0041-0101(87)90136-X

De la Maza, A., Parra, J.L., 1994. Vesicle-micelle structural transition of phosphatidylcholine bilayers and Triton X-100. Biochem. J. 303, 907–914. https://doi.org/10.1042/bj3030907

Dennis, E.A., Cao, J., Hsu, Y.H., Magrioti, V., Kokotos, G., 2011. Phospholipase A2 enzymes: Physical structure, biological function, disease implication, chemical inhibition, and therapeutic intervention. Chem. Rev. https://doi.org/10.1021/cr200085w

Doughty, M.J., 2010. PH dependent spectral properties of sodium fluorescein ophthalmic solutions revisited. Ophthalmic Physiol. Opt. 30, 167–174. https://doi.org/10.1111/j.1475-1313.2009.00703.x

Ferraz, C.R., Arrahman, A., Xie, C., Casewell, N.R., Lewis, R.J., Kool, J., Cardoso, F.C., 2019. Multifunctional Toxins in Snake Venoms and Therapeutic Implications: From Pain to Hemorrhage and Necrosis. Front. Ecol. Evol. 7, 1–19. https://doi.org/10.3389/fevo.2019.00218

Gasanov, S.E., 2014. Snake Venom Cytotoxins, Phospholipase A2s, and Zn2+-dependent Metalloproteinases: Mechanisms of Action and Pharmacological Relevance. J. Clin. Toxicol. 4. https://doi.org/10.4172/2161-0495.1000181

Gibbs, H.L., Rossiter, W., 2008. Rapid evolution by positive selection and gene gain and loss: PLA 2 venom genes in closely related Sistrurus rattlesnakes with divergent diets. J. Mol. Evol. 66, 151–166. https://doi.org/10.1007/s00239-008-9067-7

Gopalakrishnakone, P., Calvete, J.J., 2016. Venom Genomics and Proteomics. https://doi.org/10.1007/978-94-007-6416-3

Gutiérrez, J.M., Calvete, J.J., Habib, A.G., Harrison, R.A., Williams, D.J., Warrell, D.A., 2017. Snakebite envenoming. Nat. Rev. Dis. Prim. 3. https://doi.org/10.1038/nrdp.2017.63

Gutiérrez, J.M., Lomonte, B., 2013. Phospholipases A2: Unveiling the secrets of a functionally versatile group of snake venom toxins. Toxicon. https://doi.org/10.1016/j.toxicon.2012.09.006

Haney, R.A., Matte, T., Forsyth, F.A.S., Garb, J.E., 2019. Alternative transcription at venom genes and its role as a complementary mechanism for the generation of venom complexity in the common house spider. Front. Ecol. Evol. 7, 1–13. https://doi.org/10.3389/fevo.2019.00085

https://www.uniprot.org/ [WWW Document], n.d.

Katsumata, M., Gupta, C., Goldman, A.S., 1986. A rapid assay for activity of phospholipase A2 using radioactive substrate. Anal. Biochem. 154, 676–681. https://doi.org/10.1016/0003-2697(86)90046-1

Kragh-Hansen, U., Le Maire, M., Møller, J. V., 1998. The mechanism of detergent solubilization of liposomes and protein- containing membranes. Biophys. J. 75, 2932–2946. https://doi.org/10.1016/S0006-3495(98)77735-5

Lewin, M., Samuel, S., Merkel, J., Bickler, P., 2016. Varespladib (LY315920) appears to be a potent, broad-spectrum, inhibitor of snake venom phospholipase A2 and a possible pre-referral treatment for envenomation. Toxins (Basel). 248. https://doi.org/10.3390/toxins8090248

Martin, M.M., Lindqvist, L., 1975. The pH dependence of fluorescein fluorescence. J. Lumin. 10, 381–390.

Mitnaul, L.J., Tian, J., Burton, C., Lam, M.-H., Zhu, Y., Olson, S.H., Schneeweis, J.E., Zuck, P., Pandit, S., Anderson, M., Maletic, M.M., Waddell, S.T., Wright, S.D., Sparrow, C.P., Lund, E.G., 2007. Fluorogenic substrates for high-throughput measurements of endothelial lipase activity. J. Lipid Res. 48, 472–482. https://doi.org/10.1194/jlr.d600041-jlr200

Mladic, M., Zietek, B.M., Iyer, J.K., al., et, 2016. At-line nanofractionation with parallel mass spectrometry and bioactivity assessment for the rapid screening of thrombin and factor Xa inhibitors in snake venoms. Toxicon 110, 79–89. https://doi.org/10.1016/j.toxicon.2015.12.008

Murakami, M., Taketomi, Y., Miki, Y., Sato, H., Hirabayashi, T., Yamamoto, K., 2011. Recent progress in phospholipase A2 research: From cells to animals to humans. Prog. Lipid Res. https://doi.org/10.1016/j.plipres.2010.12.001

Murakami, M., Taketomi, Y., Miki, Y., Sato, H., Yamamoto, K., Lambeau, G., 2014. Emerging roles of secreted phospholipase A2 enzymes: The 3rd edition. Biochimie. https://doi.org/10.1016/j.biochi.2014.09.003

Panfoli, I., Calzia, D., Ravera, S., Morelli, A., 2010. Inhibition of hemorragic snake venom components: Old and new approaches. Toxins (Basel). 2, 417–427. https://doi.org/10.3390/toxins2040417

Petrovic, N., Grove, C., Langton, P.E., Misso, N.L., Thompson, P.J., 2001. A simple assay for a human serum phospholipase A2 that is associated with high-density lipoproteins. J. Lipid Res. 42, 1706–13.

Price, J.A., 2007. A colorimetric assay for measuring phospholipase A2 degradation of phosphatidylcholine at physiological pH. J. Biochem. Biophys. Methods 70, 441–444. https://doi.org/10.1016/j.jbbm.2006.10.008

sastry Yarla, N., Satyakumar, K., Srinivasu, D., DSVGK, K., 2015. Phospholipase A2: A Potential Therapeutic Target in Inflammation and Cancer (In silico, In vitro, In vivo and Clinical Approach). J. Cancer Sci. Ther. 07, 249–252. https://doi.org/10.4172/1948-5956.1000357

Sharko, O., Kisel, M., 2011. 1-Acyl-2-[N-(2,4-dinitrophenyl)aminopropionyl]-sn-glycero-3-phosphocholine as a chromogenic substrate for phospholipase A2 assay. Anal. Biochem. 413, 69–71. https://doi.org/10.1016/j.ab.2011.02.018

Slagboom, J., Mladić, M., Xie, C., Kazandjian, T.D., Vonk, F., Somsen, G.W., Casewell, N.R., Kool, J., 2020. High throughput screening and identification of coagulopathic snake venom proteins and peptides using nanofractionation and proteomics approaches. PLoS Negl. Trop. Dis. 14, 1–26. https://doi.org/10.1371/journal.pntd.0007802

Still, K.B.M., Nandlal, R.S.S., Slagboom, J., Somsen, G.W., Casewell, N.R., Kool, J., 2017. Multipurpose HTS coagulation analysis: Assay development and assessment of coagulopathic snake venoms. Toxins (Basel). 9, 1–16. https://doi.org/10.3390/toxins9120382

Sutto-Ortiz, P., Camacho-Ruiz, M. de los A., Kirchmayr, M.R., Camacho-Ruiz, R.M., Mateos-Díaz, J.C., Noiriel, A., Carrière, F., Abousalham, A., Rodríguez, J.A., 2017. Screening of phospholipase A activity and its production by new actinomycete strains cultivated by solid-state fermentation. PeerJ 5, e3524. https://doi.org/10.7717/peerj.3524

Tasoulis, T., Isbister, G.K., 2017. A review and database of snake venom proteomes. Toxins (Basel). 9. https://doi.org/10.3390/toxins9090290

TSAI, I.-H., WANG, Y.-M., CHEN, Y.-H., TSAI, T.-S., TU, M.-C., 2004. Venom phospholipases A2 of bamboo viper (Trimeresurus stejnegeri): molecular characterization, geographic variations and evidence of multiple ancestries. Biochem. J. 377, 215–223. https://doi.org/10.1042/bj20030818

Tsai, I.H., Tsai, H.Y., Saha, A., Gomes, A., 2007. Sequences, geographic variations and molecular phylogeny of venom phospholipases and threefinger toxins of eastern India Bungarus fasciatus and kinetic analyses of its Pro31 phospholipases A2. FEBS J. 274, 512–525. https://doi.org/10.1111/j.1742-4658.2006.05598.x

World Health Organization, 2018. http://www.who.int/neglected\_diseases/news/Snakebite-envenoming-mandate-global-action/en/. [WWW Document].